## 2022 Chart
2022 DCA Summary of Accessibility Laws and Standards Chart
(form date: 02.13.22)
Law / QAP | Fair Housing Amendments Act of 1988 | Section 504 of Rehabilitation Act of 1973 |  | Americans With Disabilities Act | Georgia Department of Community Affairs (DCA)
| (FHA) | (Section 504) |  | of 2010 (ADA) | 5% and 2% Requirements
Applicable | Fair Housing Accessibility Guidelines (FHAG) | Uniform Federal Accessibility Standards (UFAS) |  | ADA Accessibility Guidelines | DCA Accessibility Design &
Standard |  |  |  | (ADAAG) | Construction Standards (ADCS)
Basic | 1. Accessible building entrance on an accessible route. | New Construction: 5% and 2% accessibility if project contains 5 or more units |  | Applies to the Removal of Barriers at Common Areas and
Requirements | 2. Accessible and usable public and common use areas. |  |  | Places of Public Accomodations at Existing Structures | Same as UFAS Standards under Section 504
| 3. Usable doors. | Substantial Rehabilitation: Must meet new construction standards if project consists of 15 or more units & cost of alteration is 75% or more of replacement costs
4. Accessible route into & through the dwelling unit.
5. Environmental controls in accessible locations.
6. Reinforced walls for grab bars.
| 7. Usable kitchens and bathrooms. | Other Alterations: 5% of the units must be accessible
If more than 4 units in a building
New Construction | HUD programs (incl. HOME) | HUD programs (incl. HOME) |  | HUD programs (incl. HOME) | HUD programs (incl. HOME)
| IRS Programs (incl Exchange, LIHTC) |  |  | IRS Programs (incl Exchange, LIHTC) | IRS Programs (incl Exchange, LIHTC)
| Any combination of HUD & IRS programs | Any combination of HUD & IRS programs |  | Any combination of HUD & IRS programs | Any combination of HUD & IRS programs
| Bonds |  |  | Bonds | Bonds
| Market rate |  |  | Market rate
Substantial | Applicable to Post-1991 Properties | HUD programs (incl. HOME) |  | HUD programs (incl. HOME) | Applicable to Post-1991 Properties
Rehabilitation |  |  |  | IRS Programs (incl Exchange, LIHTC) | IRS Programs (incl Exchange, LIHTC)
|  | Any combination of HUD & IRS programs |  | Any combination of HUD & IRS programs | Any combination of HUD & IRS programs
|  |  |  | Bonds | Bonds
Moderate |  | HUD programs (incl. HOME) |  | HUD programs (incl. HOME) | HUD programs (incl. HOME)
Rehabilitation | Applicable to Post-1991 Properties |  |  | IRS Programs (incl Exchange, LIHTC) | IRS Programs (incl Exchange, LIHTC)
|  | Any combination of HUD & IRS programs |  | Any combination of HUD & IRS programs | Any combination of HUD & IRS programs
|  |  |  | Bonds | Bonds
Exceptions | "Site or Terrain Impracticality" Test | "Maximum Extent Feasible" Test |  | "Not Readily Achievable" Test | Waivers for rehabilitation projects will be considered in accordance with the requirements set forth in Section 504.
Moderate Rehabilitation the only exception to Test
|  | Substantial rehabilitation must meet the requirements of new construction |  | Applies to the Removal of Barriers at Existing Structures